DEPARTMENT OF HEALTH AND HUMAN SERVICES	Page _1_ of ____

DIVISION OF PUBLIC HEALTH, ENVIRONMENTAL HEALTH SECTION	PROPERTY ID #: __________________

ON-SITE WATER PROTECTION BRANCH	COUNTY: __________________

SOIL/SITE EVALUATION for ON-SITE WASTEWATER SYSTEM

(Complete all fields in full)

OWNER: ________________________________________________________________________________ DATE EVALUATED: _____________

ADDRESS: _______________________________________________________________________________________________________________

PROPOSED FACILITY: _____________________ 	PROPOSED DESIGN FLOW (.0400): ____________	PROPERTY SIZE: __________________

LOCATION OF SITE: ___________________________________________________________________	PROPERTY RECORDED: ____________

WATER SUPPLY:    Public     Single Family Well     Shared Well     Spring     Other __________ WATER SUPPLY SETBACK:_________

EVALUATION METHOD:     Auger Boring     Pit     Cut                TYPE OF WASTEWATER:      Domestic    High Strength    IPWW

| P R O F I L E # | .0502 LANDSCAPE POSITION/ SLOPE % | HORIZON DEPTH (IN.) | SOIL MORPHOLOGY |  | OTHER PROFILE FACTORS |  |  |  | .0509 PROFILE CLASS & LTAR* | .0502(d) SLOPE CORRECTION |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | .0503 STRUCTURE/ TEXTURE | .0503 CONSISTENCE/ MINERALOGY | .0504 SOIL WETNESS/ COLOR | .0505 SOIL DEPTH | .0506 SAPRO CLASS | .0507 RESTR HORIZ |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |

| DESCRIPTION | INITIAL SYSTEM | REPAIR SYSTEM | SITE CLASSIFICATION (.0509): ____________________________________________ EVALUATED BY: ________________________________________________________ OTHER(S) PRESENT: _____________________________________________________ |
| --- | --- | --- | --- |
| Available Space (.0508) |  |  |  |
| System Type(s) |  |  |  |
| Site LTAR |  |  |  |
| Maximum Trench Depth |  |  |  |

Comments: ______________________________________________________________________________________________________________________

________________________________________________________________________________________________________________________________

________________________________________________________________________________________________________________________________

________________________________________________________________________________________________________________________________

LEGEND

| LANDSCAPE POSITION | SOIL GROUP | SOIL TEXTURE | CONVENTIONAL LTAR (gpd/ft2) | SAPROLITE LTAR (gpd/ft2) | LPP LTAR (gpd/ft2) | MINERALOGY/ CONSISTENCE |  | STRUCTURE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CC (Concave slope) | I | S (Sand) | 0.8 - 1.2 | 0.6 - 0.8 | 0.4 -0.6 | MOIST | WET | SG (Single grain) |
| CV (Convex Slope) |  | LS (Loamy sand) |  | 0.5 -0.7 |  | Lo (Loose) | NS (Non-sticky) | M (Massive) |
| D (Drainage way) | II | SL (Sandy loam) | 0.6 - 0.8 | 0.4 -0.6 | 0.3 - 0.4 | VFR (Very friable) | SS (Slightly sticky) | GR (Granular) |
| FP (Flood plain) |  | L (Loam) |  | 0.2 - 0.4 |  | FR (Friable) | S (Sticky) | SBK (Subangular blocky) |
| FS (Foot slope) | III | SiL (Silt loam) | 0.3 - 0.6 | 0.1 - 0.3 | 0.15 - 0.3 | FI (Firm) | VS (Very sticky) | ABK (Angular blocky) |
| H (Head slope) |  | SCL (Sandy clay loam) |  | 0.05 - 0.15** |  | VFI (Very firm) | NP (Non-plastic) | PR (Prismatic) |
| L (Linear Slope) |  | CL (Clay loam) |  | None |  | EFI (Extremely firm) | SP (Slightly plastic) | PL (Platy) |
| N (Nose slope) |  | SiCL (Silty clay loam) |  |  |  |  | P (Plastic) |  |
| R (Ridge/summit) |  | Si (Silt) |  |  |  |  | VP (Very plastic) |  |
| S (Shoulder slope) | IV | SC (Sandy clay) | 0.1 - 0.4 |  | 0.05 - 0.2 | SEXP (Slightly expansive) |  |  |
| T (Terrace) |  | SiC (Silty clay) |  |  |  | EXP (Expansive) |  |  |
| TS (Toe Slope) |  | C (Clay) |  |  |  |  |  |  |
|  |  | O (Organic) | None |  |  |  |  |  |

* Adjust LTAR due to depth, consistence, structure, soil wetness, landscape, position, wastewater flow and quality.

**Sandy clay loam saprolite can only be used with advanced pretreatment in accordance with 15A NCAC 18E .1200.

HORIZON DEPTH		In inches below natural soil surface

DEPTH OF FILL		In inches from land surface

RESTRICTIVE HORIZON	Thickness and depth from land surface

SAPROLITE		S(suitable) or U(unsuitable); Evaluation of saprolite shall be by pits.

SOIL WETNESS		Inches from land surface to free water or inches from land surface to soil colors with chroma 2 or less - record Munsell color chip designation

CLASSIFICATION		S (Suitable) or U (Unsuitable)

Show profile locations and other site features (dimensions, reference or benchmark, and North).

SOIL/SITE EVALUATION	Page ____ of ____

(Continuation Sheet-Complete all field in full)

DEPARTMENT OF HEALTH AND HUMAN SERVICES	PROPERTY ID #: ___________________

DIVISION OF PUBLIC HEALTH	DATE OF EVALUATION: ___________________

ENVIRONMENTAL HEALTH SECTION	COUNTY: ___________________

ON-SITE WATER PROTECTION BRANCH

| P R O F I L E # | .0502 LANDSCAPE POSITION/ SLOPE % | HORIZON DEPTH (IN.) | SOIL MORPHOLOGY |  | OTHER PROFILE FACTORS |  |  |  | .0509 PROFILE CLASS & LTAR* | .0502(d) SLOPE CORRECTION |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | .0503 STRUCTURE/ TEXTURE | .0503 CONSISTENCE/ MINERALOGY | .0504 SOIL WETNESS/ COLOR | .0505 SOIL DEPTH | .0506 SAPRO CLASS | .0507 RESTR HORIZ |  |  |

COMMENTS:_______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________